## Sheet1
Species | Sampling Location | Environmental Matrix | No. of Positive Samples/Total No. of Samples (% Positive) | sampling volume (mL) | concentration | units | concentration, per L | method (PCR or culture) | Reference | Notes
M. chimaera | 10 hospitals in England | water (heater-cooler units) | 19 / 45 (42.2%) | 50 | 10.9713 | MPN/L | 10.9713 | culture | Chand et al. (2017) | This represents the mean concentration calculated using the MPN formula.
M. gordanae | hospital adm. building in Pittsburgh, PA | water (hot water faucets) | 4 / 39 (10.3%) | 120 | 2.5 | CFU/mL | 0.0025 | culture | Sheffer et al. (2005) | mean concentration of first flush samples collected from 3 faucets (n = 39)
Mycobacterium | site 1, sink at physical therapy wound care, hospital, OH | hot water (sinks, showers, and hot water loop) | 33 / 54 (61.1%) | 1000 | 400 | CFU/200 mL | 80 | culture | Lytle et al. (2021) | All samples were collected from the same hospital in Ohio. First flush hot water samples were analyzed for NTM. The reported numbers represent average Mycobacterium concentrations in samples collected from each site. Note: not sure on what basis values were assigned to NTM at "sites 6, 7, 10, and 11a" if NTM was never detected at these sites (< 5 CFU/200 mL). It should be noted that sites 1 through 5 were designated as old, and sites 6 through 11were designated as new.
| site 2, sink at women's bathroom, hospital, OH |  |  |  | 269 |  | 53.8
| site 3, west sink at nuclear medicine, hospital, OH |  |  |  | 400 |  | 80
| site 4, sink at medical room, hospital, OH |  |  |  | 400 |  | 80
| site 5, sink at staff bathroom, hospital, OH |  |  |  | 400 |  | 80
| site 6, sink at ICU patient room, hospital, OH |  |  |  | 3 |  | 0.6
| site 7, sink at patient surgical recovery room, hospital, OH |  |  |  | 1.7 |  | 0.34
| site 8a, sink at patient room, hospital, OH |  |  |  | 52.2 |  | 10.44
| site 8b, shower at patient room, hospital, OH |  |  |  | 258 |  | 51.6
| site 9, sink at adult behavior room, hospital, OH |  |  |  | 45.9 |  | 9.18
| site 10, sink at MICU patient room, hospital, OH |  |  |  | 1.8 |  | 0.36
| site 11a, sink at patient room, hosipital, OH |  |  |  | 4.9 |  | 0.98
| site 11b, shower at patient room, hospital, OH |  |  |  | 235 |  | 47
| site 13, hot water loop, hospital, OH |  |  |  | 65 |  | 13
| site 14, hot water loop, hospital, OH |  |  |  | 119 |  | 23.8
M. chimaera | hospital no.2, France | water (heater-cooler units) | 24 / 75 (32%) | 250 | 10000 | CFU/L | 10000 | culture | Lecorche et al. (2021) | These results were reported in the SI section as semi-quantitative. PNQ indicates that M. chimaera was present but could not be enumerated. The results reported herein are only for positive samples (total no. of samples = 75). Samples (total) were collected as part of systemetic surveillance, spontaneous request, investigation as a result of a clinical case, or random hospital selection. Not sure whether to report negative samples (to fit a distribution) as zero or BLD. Also, other species such as M. gordanae were detected and quantified. Might need to add a seperate row for these species, specifically M. gordanae.
| hospital no.2, France |  |  |  | 100000 |  | 100000
| hospital no.4, France |  |  |  | 1000 |  | 1000
| hospital no.4, France |  |  |  | 1000 |  | 1000
| hospital no.4, France |  |  |  | 1000 |  | 1000
| hospital no.4, France |  |  |  | 10000 |  | 10000
| hospital no.4, France |  |  |  | 10000 |  | 10000
| hospital no.5, France |  |  |  | 10 |  | 10
| hospital no.5, France |  |  |  | 100 |  | 100
| hospital no.5, France |  |  |  | PNQ |  | PNQ
| hospital no.5, France |  |  |  | 1000 |  | 1000
| hospital no.5, France |  |  |  | 1000 |  | 1000
| hospital no.5, France |  |  |  | 1000 |  | 1000
| hospital no.5, France |  |  |  | 100 |  | 100
| hospital no.5, France |  |  |  | 100 |  | 100
| hospital no.5, France |  |  |  | 1000 |  | 1000
| hospital no.6, France |  |  |  | 1000 |  | 1000
| hospital no.6, France |  |  |  | 10000 |  | 10000
| hospital no.6, France |  |  |  | 10000 |  | 10000
| hospital no.6, France |  |  |  | 100 |  | 100
| hospital no.8, France |  |  |  | 100 |  | 100
| hospital, no.8, France |  |  |  | 1000 |  | 1000
| hospital no.9, France |  |  |  | 1000 |  | 1000
| hospital no.9, France |  |  |  | PNQ |  | PNQ
Note on B3: jumana alja’fari: Not sure it's in Pittsburgh, PA.
mean concentration = - (1/V) * ln ((n - p) / n)
where:
n: total number of samples
p: no. of positive samples
V: sample volume
- What to do with the no. of contaminated cultures?
- Make sure that the MPN formula is used correctly (volume unit and unit conversion).